## Лист 1
Tаблица 1
Каналы MQTT
Устройство | Контрол | Тип | Тема | Значение | Статус
wb-adc | A1 | voltage | /devices/wb-adc/controls/A1 | 4.95 | OK
wb-adc | A2 | voltage | /devices/wb-adc/controls/A2 | 4.99 | OK
wb-adc | A3 | voltage | /devices/wb-adc/controls/A3 | 4.99 | OK
wb-adc | A4 | voltage | /devices/wb-adc/controls/A4 | 4.97 | OK
wb-adc | Vin | voltage | /devices/wb-adc/controls/Vin | 23.73 | OK
wb-adc | 5Vout | voltage | /devices/wb-adc/controls/5Vout | 5.01 | OK
wb-gpio | A1_OUT | switch | /devices/wb-gpio/controls/A1_OUT | false | OK
wb-gpio | A2_OUT | switch | /devices/wb-gpio/controls/A2_OUT | false | OK
wb-gpio | A3_OUT | switch | /devices/wb-gpio/controls/A3_OUT | false | OK
wb-gpio | A4_OUT | switch | /devices/wb-gpio/controls/A4_OUT | false | OK
wb-gpio | A1_IN | switch | /devices/wb-gpio/controls/A1_IN | true | OK
wb-gpio | A2_IN | switch | /devices/wb-gpio/controls/A2_IN | false | OK
wb-gpio | A3_IN | switch | /devices/wb-gpio/controls/A3_IN | true | OK
wb-gpio | A4_IN | switch | /devices/wb-gpio/controls/A4_IN | true | OK
wb-gpio | V_OUT | switch | /devices/wb-gpio/controls/V_OUT | true | OK
wb-gpio | V_OUT_OK | switch | /devices/wb-gpio/controls/V_OUT_OK | true | OK
wb-gpio | 5V_OUT | switch | /devices/wb-gpio/controls/5V_OUT | true | OK
wb-gpio | W2_IN | switch | /devices/wb-gpio/controls/W2_IN | false | OK
wb-gpio | EXT1_R3A1 | switch | /devices/wb-gpio/controls/EXT1_R3A1 | true | OK
wb-gpio | EXT1_R3A2 | switch | /devices/wb-gpio/controls/EXT1_R3A2 | true | OK
wb-gpio | EXT1_R3A3 | switch | /devices/wb-gpio/controls/EXT1_R3A3 | false | OK
wb-gpio | EXT1_R3A4 | switch | /devices/wb-gpio/controls/EXT1_R3A4 | true | OK
wb-gpio | EXT1_R3A5 | switch | /devices/wb-gpio/controls/EXT1_R3A5 | true | OK
wb-gpio | EXT1_R3A6 | switch | /devices/wb-gpio/controls/EXT1_R3A6 | false | OK
wb-gpio | EXT1_R3A7 | switch | /devices/wb-gpio/controls/EXT1_R3A7 | true | OK
wb-gpio | EXT1_R3A8 | switch | /devices/wb-gpio/controls/EXT1_R3A8 | false | OK
wb-mao4_209 | Input 1 | switch | /devices/wb-mao4_209/controls/Input 1 | true | OK
wb-mao4_209 | Input 1 counter | value | /devices/wb-mao4_209/controls/Input 1 counter | 0 | OK
wb-mao4_209 | Input 2 | switch | /devices/wb-mao4_209/controls/Input 2 | true | OK
wb-mao4_209 | Input 2 counter | value | /devices/wb-mao4_209/controls/Input 2 counter | 0 | OK
wb-mao4_209 | Input 3 | switch | /devices/wb-mao4_209/controls/Input 3 | true | OK
wb-mao4_209 | Input 3 counter | value | /devices/wb-mao4_209/controls/Input 3 counter | 0 | OK
wb-mao4_209 | Channel 1 | range | /devices/wb-mao4_209/controls/Channel 1 | 10000 | OK
wb-mao4_209 | Channel 2 | range | /devices/wb-mao4_209/controls/Channel 2 | 10000 | OK
wb-mao4_209 | Channel 3 | range | /devices/wb-mao4_209/controls/Channel 3 | 10000 | OK
wb-mao4_209 | Channel 4 | range | /devices/wb-mao4_209/controls/Channel 4 | 0 | OK
wb-mao4_209 | Serial | text | /devices/wb-mao4_209/controls/Serial | 4265585383 | OK
wb-modbus-0-0 | Modbus run on mark | value | /devices/wb-modbus-0-0/controls/Modbus run on mark | 0 | Ошибка: r
wb-modbus-0-0 | Master or slave mark | value | /devices/wb-modbus-0-0/controls/Master or slave mark | 0 | Ошибка: r
wb-modbus-0-0 | Baud rate setting | value | /devices/wb-modbus-0-0/controls/Baud rate setting | 0 | Ошибка: r
wb-modbus-0-0 | Serial mode | value | /devices/wb-modbus-0-0/controls/Serial mode | 0 | Ошибка: r
wb-modbus-0-0 | Slave device position | value | /devices/wb-modbus-0-0/controls/Slave device position | 0 | Ошибка: r
wb-modbus-0-0 | Modbus output serial port | value | /devices/wb-modbus-0-0/controls/Modbus output serial port | 0 | Ошибка: r
wb-modbus-0-0 | OS version | value | /devices/wb-modbus-0-0/controls/OS version | 0 | Ошибка: r
wb-modbus-0-0 | Preserved_0xe006 | value | /devices/wb-modbus-0-0/controls/Preserved_0xe006 | 0 | Ошибка: r
wb-modbus-0-0 | Preserved_0xe007 | value | /devices/wb-modbus-0-0/controls/Preserved_0xe007 | 0 | Ошибка: r
wb-w1 | 28-00000d6b3616 | temperature | /devices/wb-w1/controls/28-00000d6b3616 | 25.875 | OK
wb-w1 | 28-00000d6b460c | temperature | /devices/wb-w1/controls/28-00000d6b460c | 10 | OK
wb-w1 | 28-00000d6b4f09 | temperature | /devices/wb-w1/controls/28-00000d6b4f09 | 26.625 | OK
wbrules | Rule debugging | switch | /devices/wbrules/controls/Rule debugging | true | OK